BOARD MEETING MINUTES, 	January 18, 2016

Kirk called the meeting to order at 7:11 PM at the Filtration Plant.

Attending:       Kirk Epperly, Phil Abel, Bud Everts, and Steffi Becking.

Also present:   Stacey Johnson.

Communication and correspondence:

1.  Special District leadership professional development program schedules were received from CSDA.

Consent Calendar – (Review finances and approve minutes)

1. Approval of the financial report for October thru December.

a. Balance Sheet as of December 31, 2015

b. Profit and Loss October thru December 2015

c. Expenses by Vendor list October thru December 2015

2. 	Approval of the previous meeting minutes (October 2015).

Bud moved to approve the consent calendar. Phil seconded. Motion approved unanimously.

The board discussed the wastewater discharge fee (“Licenses and fees” on P&L of $7465) which is invoiced annually by the State Water resource Control Board. The fact that the SWRCB had overcharged the CSD for many years and how the district would address the issue was discussed. Stacey will forward several invoices and supporting documentation from Questa to the board and Bud will inquire through Frey and Associates as to what options the Board has.

Operations Report:

- Main tank alarms – See “Emergency secondary overflow tank alarm review” attached.

- The annual inspections of on-site septic systems are 10% complete.

- Stacey will be setting up a savings account for the repayment of the $100k from the water company.

- Stacey recommended inspecting a portion of the effluent line to determine if line cleaning is warranted.

Old and New Business:

- The board discussed the monthly Profit and Loss deficit that the CSD has been experiencing in the past and the need to consider increasing the districts revenue. The property tax rate of $900 has not been increased since the implementation of the system in the 90’s. The board requested that this topic be added to the next meetings agenda.

- Stacey indicated that he would send the board members the link to the QuickBooks application.

- Stacey will check with US Bank to determine if there is a penalty for early payoff of our bond obligation to the State.

Adjournment:

Phil moved to adjourn the meeting to February 8, 2016 at the Filtration Plant (19605 Manzanita Drive). Bud seconded the motion. Motion Approved Unanimously.  Meeting adjourned at 8:15 P.M.

Emergency secondary overflow tank alarm review:

There are 2 tanks across from 19141 Beardsley Road, the main primary tank and an emergency secondary overflow tank. Under normal operating conditions only the main primary tank is used and the secondary tank remains empty. At the top of the main primary tank is a pipe leading into the secondary overflow tank. Then there is a malfunction and the primary main tank fills up the effluent will begin to flow into the secondary tank.

The purpose of the pump in the secondary overflow tank is to allow effluent to be pumped back into the primary tank once the emergency is corrected (and eventually up to the leach field using the primary main tanks effluent pump system). The original float tree that resides in the secondary overflow tank has three floats as follows:

HLA - High Level Alarm which activates a visual and audible alarm on the exterior of the wooden control panel enclosure (there are 4 enclosures along side the main tanks across from 19141 Beardsley).

On-Off - This float turns the pump on when the effluent is at a certain height (high level) and it turns the pump off when it reaches a specific lower level height. Usually has about a 6 inch moment.

LLA - Low Level Alarm which sound when the effluent level reaches about 6 inches from the bottom of the tank. When this sounds it disables the ability to turn on the pump (auto or manual).

There should ever be a situation in which the pump initiates automatically and starts pumping back into the primary tank (although that was the way it was originally set up). This is because if the emergency has not been corrected the effluent will get pumped into the primary tank and just flow back into the secondary tank. For that reason I have disabled the LLA and the On-Off floats. The HLA remains active and will sound the alarm when effluent reaches that level.

Since the HLA was positioned towards the top of the secondary overflow tank it does not give us much lead time during an emergency. Therefore I've changed the wiring in the control box to use the LLA float as a high alarm instead of the original HLA float. This float is about six inches from the bottom of the tank and will sound very shortly after effluent begins to pour into the secondary tank.

There is also a battery powered alarm monitoring the emergency secondary overflow tank with a separate float system which will sound under the same condition as above.  Both visual and audible alarms are located above the door on the exterior of the wooden control panel enclosure closest to the stop sign. If either of these alarms sounds please report the condition to the Canyon’s emergency hotline at (408)834-7745 extension 5 and the message will be immediately escalated to the appropriate individuals.